## Tabelle1
Simulation of overflow detection for Display- and Accumulated- Volumes
Fiele: | OverflowDetection.xls
Date: | 28-Mar-2018
Author: | Thomas Wiedebusch
Unit is m³
Protocol f | Display-Volume | Range: 000.000 000m³ to 999.999 999m³ and -000.000 000m³ to -999.999 999m | [5 empty] | @1ml resolution |  | Protocol h | Accumulated-Volume |  | Range: 0.000 to 4.194304m³ |  | @ 1024 digits/ml
OverflowVolumeQm (OV) |  | 1000 | [7 empty] | OverflowVolumeQm |  | 4.1943
| positive flowrate |  |  |  |  | negative flowrate | [5 empty] | positive flowrate |  |  |  | negative flowrate
value | ¦Vn-V(n-1)¦ | IsOverflow?¦Vn-V(n-1)¦ >1/2 OV | IsNegative Overflow? Vn>V(n-1) | AccuOV | value | ¦Vn-V(n-1)¦ | IsOverflow?¦Vn-V(n-1)¦ >1/2 OV | IsNegative Overflow? Vn>V(n-1) | AccuOV | value | ¦Vn-V(n-1)¦ | IsOverflow?¦Vn-V(n-1)¦ >1/2 OV | IsNegative Overflow? Vn>V(n-1) | AccuOV | current value | ABS(current - last) ¦Vn-V(n-1)¦ | IsOverflow? ¦Vn-V(n-1)¦ >1/2 OV | IsNegative Overflow? Vn>V(n-1) | AccuOV
-500 | 100 | false | true | 0 | 500 | 100 | false | false | 0 | 2.0972 | 0.41943 | false | true | 0 | 2.0972 | 0.41943 | false | false | 0
-400 | 100 | false | true | 0 | 400 | 100 | false | false | 0 | 2.5166 | 0.41943 | false | true | 0 | 1.6777 | 0.41943 | false | false | 0
-300 | 100 | false | true | 0 | 300 | 100 | false | false | 0 | 2.936 | 0.41943 | false | true | 0 | 1.2583 | 0.41943 | false | false | 0
-200 | 100 | false | true | 0 | 200 | 100 | false | false | 0 | 3.3554 | 0.41943 | false | true | 0 | 0.83886 | 0.41943 | false | false | 0
-100 | 100 | false | true | 0 | 100 | 100 | false | false | 0 | 3.7749 | 0.41943 | false | true | 0 | 0.41943 | 0.41943 | false | false | 0
0 | 100 | false | true | 0 | 0 | 100 | false | false | 0 | 0 | 3.7749 | true | false | 4.1943 | 4.1943 | 3.7749 | true | true | -4.1943
100 | 100 | false | true | 0 | -100 | 100 | false | false | 0 | 0.41943 | 0.41943 | false | true | 4.1943 | 3.7749 | 0.41943 | false | false | -4.1943
200 | 100 | false | true | 0 | -200 | 100 | false | false | 0 | 0.83886 | 0.41943 | false | true | 4.1943 | 3.3554 | 0.41943 | false | false | -4.1943
300 | 100 | false | true | 0 | -300 | 100 | false | false | 0 | 1.2583 | 0.41943 | false | true | 4.1943 | 2.936 | 0.41943 | false | false | -4.1943
400 | 100 | false | true | 0 | -400 | 100 | false | false | 0 | 1.6777 | 0.41943 | false | true | 4.1943 | 2.5166 | 0.41943 | false | false | -4.1943
500 | 100 | false | true | 0 | -500 | 100 | false | false | 0 | 2.0972 | 0.41943 | false | true | 4.1943 | 2.0972 | 0.41943 | false | false | -4.1943
600 | 100 | false | true | 0 | -600 | 100 | false | false | 0 | 2.5166 | 0.41943 | false | true | 4.1943 | 1.6777 | 0.41943 | false | false | -4.1943
700 | 100 | false | true | 0 | -700 | 100 | false | false | 0 | 2.936 | 0.41943 | false | true | 4.1943 | 1.2583 | 0.41943 | false | false | -4.1943
800 | 100 | false | true | 0 | -800 | 100 | false | false | 0 | 3.3554 | 0.41943 | false | true | 4.1943 | 0.83886 | 0.41943 | false | false | -4.1943
900 | 100 | false | true | 0 | -900 | 100 | false | false | 0 | 3.7749 | 0.41943 | false | true | 4.1943 | 0.41943 | 0.41943 | false | false | -4.1943
0 | 900 | true | false | 1000 | 0 | 900 | true | true | -1000 | 0 | 3.7749 | true | false | 8.3886 | 4.1943 | 3.7749 | true | true | -8.3886
100 | 100 | false | true | 1000 | -100 | 100 | false | false | -1000 | 0.41943 | 0.41943 | false | true | 8.3886 | 3.7749 | 0.41943 | false | false | -8.3886
200 | 100 | false | true | 1000 | -200 | 100 | false | false | -1000 | 0.83886 | 0.41943 | false | true | 8.3886 | 3.3554 | 0.41943 | false | false | -8.3886
300 | 100 | false | true | 1000 | -300 | 100 | false | false | -1000 | 1.2583 | 0.41943 | false | true | 8.3886 | 2.936 | 0.41943 | false | false | -8.3886
400 | 100 | false | true | 1000 | -400 | 100 | false | false | -1000 | 1.6777 | 0.41943 | false | true | 8.3886 | 2.5166 | 0.41943 | false | false | -8.3886
500 | 100 | false | true | 1000 | -500 | 100 | false | false | -1000 | 2.0972 | 0.41943 | false | true | 8.3886 | 2.0972 | 0.41943 | false | false | -8.3886
600 | 100 | false | true | 1000 | -600 | 100 | false | false | -1000 | 2.5166 | 0.41943 | false | true | 8.3886 | 1.6777 | 0.41943 | false | false | -8.3886
700 | 100 | false | true | 1000 | -700 | 100 | false | false | -1000 | 2.936 | 0.41943 | false | true | 8.3886 | 1.2583 | 0.41943 | false | false | -8.3886
800 | 100 | false | true | 1000 | -800 | 100 | false | false | -1000 | 3.3554 | 0.41943 | false | true | 8.3886 | 0.83886 | 0.41943 | false | false | -8.3886
900 | 100 | false | true | 1000 | -900 | 100 | false | false | -1000 | 3.7749 | 0.41943 | false | true | 8.3886 | 0.41943 | 0.41943 | false | false | -8.3886
0 | 900 | true | false | 2000 | 0 | 900 | true | true | -2000 | 0 | 3.7749 | true | false | 12.5829 | 4.1943 | 3.7749 | true | true | -12.5829
100 | 100 | false | true | 2000 | -100 | 100 | false | false | -2000 | 0.41943 | 0.41943 | false | true | 12.5829 | 3.7749 | 0.41943 | false | false | -12.5829
200 | 100 | false | true | 2000 | -200 | 100 | false | false | -2000 | 0.83886 | 0.41943 | false | true | 12.5829 | 3.3554 | 0.41943 | false | false | -12.5829
300 | 100 | false | true | 2000 | -300 | 100 | false | false | -2000 | 1.2583 | 0.41943 | false | true | 12.5829 | 2.936 | 0.41943 | false | false | -12.5829
400 | 100 | false | true | 2000 | -400 | 100 | false | false | -2000 | 1.6777 | 0.41943 | false | true | 12.5829 | 2.5166 | 0.41943 | false | false | -12.5829
500 | 100 | false | true | 2000 | -500 | 100 | false | false | -2000 | 2.0972 | 0.41943 | false | true | 12.5829 | 2.0972 | 0.41943 | false | false | -12.5829

## Tabelle2
2019-03-01 10:41:18.1890 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:0 - MeasuredTime(15,0963134765625s), MeasuredVolume(0,157954999999999Qm)
2019-03-01 10:41:18.1890 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:1 - ChannelTime(15,0963439941406s), ChannelVolume(-0,158268765625Qm)
2019-03-01 10:41:18.1890 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:2 - ChannelTime(19,9951477050781s), ChannelVolume(-0,210512907226562Qm)
2019-03-01 10:41:18.1890 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:3 - ChannelTime(14,996337890625s), ChannelVolume(-0,155627903320313Qm)
2019-03-01 10:41:18.2090 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel: 3 - has positive overflow. currentVolumeQm (0,879334741210937) - lastVolumeQm (0,931238559570312). current accuOverflowVolume is 0
2019-03-01 10:41:18.2090 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:3 - Received intermediate record(Channel=3,Validation=0,TotalTimeOfFlightS=0,000616889832599554,DeltaTimeOfFlightS=-2,65656126430258E-07,DeltaVolumeRaw=4293910781,VolumeScaleRawPerMl=1024,VolumeFactorRawToQm=9,765625E-10,DeltaVolumeRaw=4293910781,DeltaVolumeQm=4,19327224707031,AccuVolumeRaw=900438775,VolumeQm=0,879334741210937,AccuOverflowVolumeQm=0,SampleIntervalS=0,0999755859375,AmplitudeUpV=0,377694289684296,AmplitudeDownV=0,379229556083679,PulseWidthRatioUp=0,PulseWidthRatioDown=0,TemperatureRaw=80043,TemperaturePowFactor=12,TemperatureDegC=19,541748046875,TimeS=41995,4580688477,OverflowTimeS=65536,CRC=33437,IsValid=True,ReceivedTimeUtc=01.03.2019 09:41:18 +00:00,DecodedTimeUtc=01.03.2019 09:41:18 +00:00,SyncMarkRecord=DecodeIntermediate)
2019-03-01 10:41:18.2090 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:3 - Calibration state set to 'IsRunning'
2019-03-01 10:41:18.2390 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel: 0 - has negative overflow. currentVolumeQm (9,390071) - lastVolumeQm (9,337751). current accuOverflowVolume is 0
2019-03-01 10:41:18.2390 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:0 - Received intermediate record(VolumeQm=9,390071,OverflowVolumeQm=0,TimeS=41995,4580688477,OverflowTimeS=65536,CRC=60636,IsValid=True,ReceivedTimeUtc=01.03.2019 09:41:18 +00:00,DecodedTimeUtc=01.03.2019 09:41:18 +00:00,SyncMarkRecord=DecodeIntermediate)
2019-03-01 10:41:18.2390 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:0 - Calibration state set to 'IsRunning'
2019-03-01 10:41:18.2390 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel: 1 - has negative overflow. currentVolumeQm (4,16476095996094) - lastVolumeQm (0,022918466796875). current accuOverflowVolume is 0
2019-03-01 10:41:18.2390 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:1 - Received intermediate record(Channel=1,Validation=0,TotalTimeOfFlightS=0,000620104347035522,DeltaTimeOfFlightS=-2,68435542238876E-07,DeltaVolumeRaw=4293899727,VolumeScaleRawPerMl=1024,VolumeFactorRawToQm=9,765625E-10,DeltaVolumeRaw=4293899727,DeltaVolumeQm=4,19326145214844,AccuVolumeRaw=4264715223,VolumeQm=4,16476095996094,AccuOverflowVolumeQm=0,SampleIntervalS=0,100006103515625,AmplitudeUpV=0,359290573120117,AmplitudeDownV=0,368304023742676,PulseWidthRatioUp=0,PulseWidthRatioDown=0,TemperatureRaw=80043,TemperaturePowFactor=12,TemperatureDegC=19,541748046875,TimeS=41995,491394043,OverflowTimeS=65536,CRC=57627,IsValid=True,ReceivedTimeUtc=01.03.2019 09:41:18 +00:00,DecodedTimeUtc=01.03.2019 09:41:18 +00:00,SyncMarkRecord=DecodeIntermediate)
2019-03-01 10:41:18.2390 ¦ Info ¦ Slot:1 ¦ Slot:1, Channel:1 - Calibration state set to 'IsRunning'